## Sheet1
| FledgeIoT | FledgePower | EdgeXFoundry | Thingsboard Community Edition | Node-RED
Owner / Maintainer | Linux Foundation (Edge) | Linux Foundation (Energy) | Linux Foundation (Edge) | ThingsBoard, Inc | OpenJS Foundation
Website | https://lfedge.org/projects/fledge/ | https://lfenergy.org/projects/fledgepower/ | https://lfedge.org/projects/edgex-foundry/ | https://thingsboard.io/ | https://nodered.org/
Source Code | https://github.com/fledge-iot/fledge | https://github.com/fledge-power/fledgepower-deployment | https://github.com/edgexfoundry/edgex-go | https://github.com/thingsboard/thingsboard | https://github.com/node-red/node-red
Documentation | https://fledge-iot.readthedocs.io/en/latest/ | https://wiki.lfenergy.org/display/FLED/FledgePower | https://docs.edgexfoundry.org/3.1/ | https://thingsboard.io/docs/ | https://nodered.org/docs/
Forks | 44 | 3 | 481 | 5k | 3.4k
Stars | 120 | 4 | 1.3k | 17k | 19.3k
Commits | 11k | 0.5k | 4.5k | 19.5k | 9.2k
License | Apache-2.0 | Apache-2.0 | Apache-2.0 | Apache-2.0 | Apache-2.0
Modbus TCP | ✓ | x | ✓ | ✓ | ✓
MQTT | ✓ | x | ✓ | ✓ | ✓
HTTP | ✓ | x | ✓ | ✓ | ✓
IEC 104 | ? | ✓ | x | x | x
DNP3 | ✓ | x | x | x | x
OPC-UA | ✓ | x | ✓ | ✓ | ✓
IEC 61850 MMS | x | ✓ | x | x | x
Simulated devices | ✓ | ✓ | ✓ | ✓ | ✓
REST Admin API | ✓ | ✓ | ✓ | ✓ | ✓
HTTP output | ✓ | ✓ | ✓ | ✓ | ✓
Streaming output | ✓ | ✓ | ✓ | ✓ | ✓
Dashboard | ✓ | ? | ✓ | ✓ | ✓
Real time latest measurement | ✓ | ✓ | ✓ | ✓ | ✓
Min / Max / Avg measurement | ✓ | ✓ | ? | ✓ | ✓
Expressions | ✓ | ✓ | ? | ✓ | ✓
Alarms / Notifications | ✓ | ✓ | ✓ | ✓ | ✓
Scheduler | ✓ | ✓ | ✓ | x | ✓
Uplink Commands | ✓ | ✓ | ✓ | ✓ | ✓
Docker / Docker Compose | ✓ | ✓ | ✓ | ✓ | ✓
Scalability | ? | ? | ? | ✓ | x
High Availability | ? | ? | ? | ✓ | x
Python SDK | ✓ | ✓ | x | ✓ | x
C SDK | ✓ | ✓ | ✓ | x | x
Configuration Migration | ✓ | ✓ | ✓ | ✓ | ✓
Comments